## Instructions
Welcome to Megazyme
To further support you, our valued customer, we have developed the Megazyme Mega-CalcTM to assist in calculating the concentration of dietary fibre from raw absorbance data. The equations from which these calculations are derived can be found on page 17 of the Megazyme "Integrated Total Dietary Fibre Assay Procedure" kit booklet (K-INTDF).
Instructions for Use of Mega-CalcTM
On the Mega-CalcTM page, fill in the orange boxes and it will provide automatic results in the white boxes.
To zoom up or down, ensure the Standard tool bar is showing (View > Toolbars) & select a value from the Zoom drop-down list.
Mega-CalcTM - Internal Standard (HMWDF & LMWSDF) Method
Sample batch details
Blank Values (HMWDF)
|  | Blank Values | Residue weights |  | Protein | Ash | Blank weight
|  |  | BR1 (mg) | BR2 (mg) | PB (mg) | AB (mg) | mg
Response Factor (LC for LMWSDF; Internal Standard Method)
|  | Response Factor (Rf) | PA-IS | PA-Glu | Wt-IS | Wt-Glu | Rf |  | Deionization method
[5 empty] | 10 | 5
[5 empty] | 10 | 10
[5 empty] | 10 | 20
Average Rf
Determined Dietary Fibre Values
1 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight | Dietary Fibre Fraction | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | mg/100g | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) |  |  |  |  | Dietary Fibre Fraction | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | mg/100g | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary | Dietary Fibre Fraction | Dietary Fibre Fraction
[10 empty] | mg/100g | % w/w
HMWDF
LMWSDF
Total DF
Definitions:
Blank (B, mg) = [BR1 + BR2] / 2 – PB – AB BR1 and BR2 = residue mass (mg) for duplicate IDF or HMWSDF determinations respectively The calculator will automatically take an average value of BR1 and BR2 and use this in the calculation AB = mass (mg) of ash in BR1; PB = mass (mg) of protein in BR2 Response factor (Rf) = (PA-IS) / (PA-Glu ) x (Wt-Glu) / (Wt-IS) PA-Glu = peak area D-glucose; PA-IS = peak area internal standard (D-sorbitol) Wt-Glu = mass of D-glucose (mg) contained in 1 mL of standard (5, 10 or 20 mg) Wt-IS = mass of internal standard (mg) contained in 1 mL of standard (10 mg of D-sorbitol) HMWDF (mg/100g) = [(R1 + R2) / 2 - P - A - B] / (M1 + M2) / 2] x 100 HMWDF (% w/w) = IDF or HMWDF (mg/100g)/1000 M1 = Test portion mass 1 in g; M2 = test portion mass 2 in g R1 = residue mass 1 from M1 (mg) of HMWDF R2 = residue mass 2 from M2 (mg) of HMWDF A = ash mass (mg) for R1 of HMWDF P = protein mass (mg) for R2 of HMWDF LMWSDF (mg/100g) = Rf x (Wt-IS-SAMP, mg) x (PA LMWSDF)/(PA-IS-SAMP) x 100/M LMWSDF (% w/w) = LMWSDF (mg/100g)/1000 Wt-IS-SAMP is mass of internal standard (D-sorbitol) added to the sample solution (100 mg) PA-LMWSDF is the peak area of the low molecular weight dietary fibre PA-IS-SAMP is the peak area of the internal standard in each sample solution 100 is factor to convert to 100 g of sample M is the test portion mass (g) M1 or M2 of the sample whose filtrate was concentrated and analyzed by LC. HMWDF = IDF + HMWSDF TOTAL DIETARY FIBRE = IDF + HMWSDF + LMWSDF
Contact Us
Further Support
To obtain further information about the specific test, or indeed any of the Megazyme products, please consult our web site.
www.megazyme.com
If you have specific questions, please contact us directly:
Technical Support: | [5 empty] | Megazyme Knowledge Base
Customer Support and Sales Information: | [5 empty] | Customer Support
General Information: | [5 empty] | info@megazyme.com |  |  |  | K-INTDF 01_09/19
Contact Us
5. Adjust sample volume
If a sample volume other than 0.1 mL is used, then enter the actual volume used.
6. Adjust sample dilution
If samples are diluted before assay, enter the dilution factor (e.g. 10 for 10-fold).
Contact Us
Back to Top of Page
Back to Top of Page
Use Mega-Calc
Use Mega-Calc
3. Rf values
Insert the LC standard values to calculate the Average Rf value for the LMWSDF analyses. If the concentrations of the Internal standard (Wt-IS) or glucose (Wt-Glu) are different to the default values, enter the appropriate concentrations.
1. Enter sample batch details.
7. Results
HMWDF, LMWSDF and Total Dietary Fibre summary results will be automatically calculated when all values for HMWDF and LMWSDF analyses have been entered and the additional Results Summary work sheet will automatically populate.
2. Blank values
Insert the blank weights (enzymes plus buffers, no sample).
5. HMWDF analyses.
Insert the residue weights from the HMWDF analyses.
4. Deionization method
Select from the drop-down list.
6. LMWSDF Analyses.
Insert the values from the LC analyses. The Rf value is automatically populated from the calculation in point 3. If an Internal Standard (Wt-IS-SAMP) weight other than 100 mg is used, enter the weight.

## Calc HMWDF & LMWSDF
| Sample batch details | [12 empty] | Manual
Inline
Blank Values (HMWDF)
|  | Blank Values | Residue weights |  | Protein | Ash | Blank weight
|  |  | BR1 (mg) | BR2 (mg) | PB (mg) | AB (mg) | mg |  |  | Blank
Response Factor (LC for LMWSDF; Internal Standard Method)
|  | Response Factor (Rf) | PA-IS | PA-Glu | Wt-IS | Wt-Glu | Rf |  | Deionization method |  |  | Rf
[5 empty] | 10 | 5
[5 empty] | 10 | 10
[5 empty] | 10 | 20
Average Rf
Determined Dietary Fibre Values
1 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
2 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
3 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
4 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
5 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
6 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
7 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
8 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
9 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
10 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
|  | HMWDF | 1.004
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
11 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
12 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
13 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
14 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
15 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
16 | Sample identifier | HMWDF Values | Sample weights |  | Residue weights |  | Protein | Ash | Blank weight |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
|  |  | M1 (g) | M2 (g) | R1 (mg) | R2 (mg) | P (mg) | A (mg) | mg | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
|  |  |  | LMWSDF (LC Values) | LC Values (Internal Standard Method) | [5 empty] | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[5 empty] | M1 or M2 (g) | Rf | Wt-IS-SAMP | PA-IS-SAMP | PA-LMWSDF | DF (mg/100g) | mg/100g | % w/w | % w/w
|  |  |  | LMWSDF |  |  | 100
[9 empty] | Sample Summary |  | Dietary Fibre Fraction |  | Dietary Fibre Fraction
[10 empty] | DF (mg/100g) | mg/100g | % w/w | % w/w
HMWDF
LMWSDF
Total DF
Back to Top of Page
Instructions
Contact Us
Results Summary

## Summary HMWDF & LMWSDF
| Sample identifier | mg/100g |  |  | % w/w
|  | HMWDF | LMWSDF | TDF | HMWDF | LMWSDF | TDF
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
Instructions
Contact Us
Back to Top of Page
Use Mega-Calc