## Instructions
Welcome to Megazyme
To further support you, our valued customer, we have provided the Megazyme Mega-CalcTM to assist you in calculating the Protein Digestibility Corrected Amino-Acid Score from raw data.
Step 1: Fill out Spreadsheet Details
DATE:
| ANALYST: | [6 empty] | "α-Amino Acids Assay" tab required to populate these columns |  |  |  | "AA Comp Correction + Data Fit" tabs required to populate these columns
| Number | Sample ID | Description | Sample Weight (g) | Sample Volume (ml) | Dilution Factor | TCA Dilution Factor | Glycine Equivalents (mM) | TCA Dilution Correction GE (mM) | GE (mM) Sample Dilution Correction | GE (mM) Sample Weight Correction | AA (as is) Corrected Ninhydrin Result | Regression Fit Result | In-Vitro Digestibility
| 1 | Blank | Blank | 0.5 | 22.2 | 10 | 1.25
| 2 | Control A | Control A | 0.5018 | 22.2 | 10 | 1.25
| 3 | Control B | Control B | 0.4973 | 22.2 | 10 | 1.25
Step 2: Fill out α-Amino Acids Assay Table
| Number | Sample ID | Average Abs 570nm | Glycine Equivalents (mM) |  | Standard | Glycine (mM) | Average Abs 570nm
| 1 | Blank | 0.4 | 0.19939 |  | Std 1 | 1 | 2
| 2 | Control A | 0.5 | 0.24949 |  | Std 2 | 0.75 | 1.5
| 3 | Control B | 0.75 | 0.37472 |  | Std 3 | 0.5 | 1
| 4 | Control C | 0.6 | 0.29958 |  | Std 4 | 0.25 | 0.5
| 5 | Control D | 0.65 | 0.32463 |  | Std 5 | 0.1 | 0.2
| 6 | Control E | 0.78 | 0.38975 |  | Std 6 | 0.075 | 0.15
| 7 | Control F | 0.49 | 0.24448 |  | Std 7 | 0.05 | 0.1
| 8 | Casein | 0.7 | 0.34968 |  | Std 8 | 0.025 | 0.05
| 9 | Pea | 0.6 | 0.29958 |  | Std 9 | 0.01 | 0.02
| 10 | Sample A | 0.35 | 0.17434 |  | Std 10 | 0.0075 | 0.03
| 11 |  |  |  |  | Std 11 | 0.005 | 0.01
| 12 |  |  |  |  | Std 12 | 0 | 0
Step 3: Fill out AA Profile Analysis Table
|  |  | Number | 2 | 3
|  |  | Sample ID | Sample A | Sample B
|  |  | Description | Bread
|  |  | Amino Acid | % | %
|  |  | L-Cysteine | 0.319 | 0.171
|  |  | L-Methionine | 0.17 | 0.149
|  |  | L-Tryptophan | 0.2 | 0.19
|  |  | L-HydroxyProline | 0 | 0
|  |  | L-Aspartic acid | 0.83 | 2.059
|  |  | L-Threonine | 0.338 | 0.651
|  |  | L-Serine | 0.44 | 0.809
|  |  | L-Glutamic Acid | 2.208 | 2.907
|  |  | L-Proline | 0.523 | 0.672
|  |  | L-Glycine | 0.464 | 0.64
|  |  | L-Alanine | 0.451 | 0.693
|  |  | L-Valine | 0.57 | 0.86
|  |  | L-Isoleucine | 0.413 | 0.793
|  |  | L-Leucine | 0.778 | 1.323
|  |  | L-Tyrosine | 0.422 | 0.611
|  |  | L-Phenylalanine | 0.558 | 0.952
|  |  | L-Lysine | 0.43 | 1.284
|  |  | L-Histidine | 0.244 | 0.447
|  |  | L-Arginine | 0.751 | 1.479
|  |  | Total Protein = | 10.109 | 16.69
Step 4: Data Fit
|  |  | Matrix | AA (as is) Corrected Ninhydrin Result | Regression Fit Result | Literature Value
|  |  | Control A | 9.9625 | 83.3928 | 83
|  |  | Control B | 10.6549 | 84.2204 | 86
|  |  | Control C | 17.3779 | 92.2567 | 91
Step 5: Fill out Report Sheet
Contact Us
Further Support
| To obtain further information about the specific test, or indeed any of the Megazyme products, please consult our web site. | [6 empty] | www.megazyme.com
If you have specific questions, please contact us directly:
| Technical Support: | [6 empty] | Megazyme Knowledge Base
| Customer Support and Sales Information: | [6 empty] | Customer Support
K-PDCAAS 08/25
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Use Spreadsheet
Sample ID, Description and Sample weight.
Insert the a Sample ID, Description and sample weight used in the α-Amino Acids Assay.
Sample and Glycine Standard Sample and blank absorbance values
Insert the a Sample and Glycine standard absorbance values
Use α-Amino Acids Assay Calc
Amino acid pecentage composition
Insert percentage compostion values of each amino acid for each sample obtained from amino acid profile analysis of each sample.
Use AA Profile Analysis Calc
Moisture and protein content
Insert percentage content of moisture and protein of the sample.
PDCAAS
When all requried data have been inserted into the relevant worksheets PDCAAS is automatically calculated.
Back to Top of Page
Contact Us
Use Data Fit
Literature Value
Insert literature value of the cotrol samples if different from the default values.
Protein Digestibility Assay (K-PDCAAS) - Instructions

## Spreadsheet
DATE:
| ANALYST: |  |  | We use tubes marked with "permanent" numbers for identifying purposes, so this column may not be applicable for every lab setup |  |  |  |  | "α-Amino Acids Assay" tab required to populate these columns |  |  |  | "AA Profile Analysis + Data Fit" tabs required to populate these columns
| Number | Sample ID | Description | Tube # | Sample Weight (g) | Sample Volume (ml) | Dilution Factor | TCA Dilution Factor | Glycine Equivalents (mM) | TCA Dilution Correction GE (mM) | GE (mM) Sample Dilution Correction | GE (mM) Sample Weight Correction | AA (as is) Corrected Ninhydrin Result | Regression Fit Result | In-Vitro Digestibility
| 1 | Blank | Blank | 1 |  | 22.2 | 10 | 1.25
| 2 | Control A | Control A | Q30 |  | 22.2 | 10 | 1.25
| 3 | Control B | Control B | Z62 |  | 22.2 | 10 | 1.25
| 4 | Control C | Control C | L6 |  | 22.2 | 10 | 1.25
| 5 | Control D | Control D | Q60 |  | 22.2 | 10 | 1.25
| 6 | Control E | Control E | Z97 |  | 22.2 | 10 | 1.25
| 7 | Control F | Control F | Z97 |  | 22.2 | 10 | 1.25
| 8 | Casein | Casein | Q77 |  | 22.2 | 20 | 1.25
| 9 |  |  | Z32 |  | 22.2 |  | 1.25
| 10 |  |  |  |  | 22.2 |  | 1.25
| 11 |  |  |  |  | 22.2 |  | 1.25
| 12 |  |  |  |  | 22.2 |  | 1.25
| 13 |  |  |  |  | 22.2 |  | 1.25
| 14 |  |  |  |  | 22.2 |  | 1.25
| 15 |  |  |  |  | 22.2 |  | 1.25
| 16 |  |  |  |  | 22.2 |  | 1.25
| 17 |  |  |  |  | 22.2 |  | 1.25
| 18 |  |  |  |  | 22.2 |  | 1.25
| 19 |  |  |  |  | 22.2 |  | 1.25
| 20 |  |  |  |  | 22.2 |  | 1.25
| 21 |  |  |  |  | 22.2 |  | 1.25
| 22 |  |  |  |  | 22.2 |  | 1.25
| 23 |  |  |  |  | 22.2 |  | 1.25
| 24 |  |  |  |  | 22.2 |  | 1.25
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS) - Spreadsheet

## α-Amino Acids Assay
DATE:
ANALYST:
Number | Sample ID | Average Abs 570nm | Glycine Equivalents (mM) | Standard | Glycine (mM) | Average Abs 570nm
1 | Blank |  |  | Std 11 | 1
2 | Control A |  |  | Std 10 | 0.75
3 | Control B |  |  | Std 9 | 0.5
4 | Control C |  |  | Std 8 | 0.25
5 | Control D |  |  | Std 7 | 0.1
6 | Control E |  |  | Std 6 | 0.075
7 | Control F |  |  | Std 5 | 0.05
8 | Casein |  |  | Std 4 | 0.025
9 |  |  |  | Std 3 | 0.01
10 |  |  |  | Std 2 | 0.0075
11 |  |  |  | Std 1 | 0.005
12 |  |  |  | Std 0 | 0
13
14 |  |  |  | Slope = |  | Interc. = | R2=
15
16
17
18
19
20
21
22
23
24
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS) - α-Amino Acids Assay

## AA Profile Analysis
Correction of Ninhydrin Result for Content of Proline, Lysine, Histidine and Arginine
Amino Acid Results are the Average of Two Measurements on a Fresh-Weight-Basis
|  | Number | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
|  | Sample ID | 2: Control A; 3: Control B; 4: Control C; 5: Control D; 6: Control E; 7: Control F; 8: Casein
|  | Description | 2: Control A; 3: Control B; 4: Control C; 5: Control D; 6: Control E; 7: Control F; 8: Casein
Amino Acid | bar: 2 to 24
| L-Cysteine |  | 2: 0.319; 3: 0.171; 4: 0.209; 5: 0.255; 6: 0.198; 7: 0.181; 8: 0.27
| L-Methionine |  | 2: 0.17; 3: 0.149; 4: 0.141; 5: 0.162; 6: 0.253; 7: 0.196; 8: 2.28
| L-Tryptophan |  | 2: 0.2; 3: 0.19; 4: 0.19; 5: 0.22; 6: 0.27; 7: 0.26; 8: 1.17
| L-HydroxyProline |  | 2: 0; 3: 0; 4: 0; 5: 0; 6: 0; 7: 0; 8: 0
| L-Aspartic acid |  | 2: 0.83; 3: 2.059; 4: 0.452; 5: 2.085; 6: 2.018; 7: 2.08; 8: 5.2372
| L-Threonine |  | 2: 0.338; 3: 0.651; 4: 0.258; 5: 0.654; 6: 0.676; 7: 0.693; 8: 2.9749
| L-Serine |  | 2: 0.44; 3: 0.809; 4: 0.388; 5: 0.743; 6: 0.81; 7: 0.858; 8: 3.003
| L-Glutamic Acid |  | 2: 2.208; 3: 2.907; 4: 2.581; 5: 3.123; 6: 3.061; 7: 2.766; 8: 16.141
| L-Proline |  | 2: 0.523; 3: 0.672; 4: 0.81; 5: 0.71; 6: 0.709; 7: 0.601; 8: 7.607
| L-Glycine |  | 2: 0.464; 3: 0.64; 4: 0.327; 5: 0.701; 6: 0.621; 7: 0.604; 8: 1.2042
| L-Alanine |  | 2: 0.451; 3: 0.693; 4: 0.293; 5: 0.715; 6: 0.69; 7: 0.66; 8: 2.0094
| L-Valine |  | 2: 0.57; 3: 0.86; 4: 0.384; 5: 0.872; 6: 0.871; 7: 0.925; 8: 4.7926
| L-Isoleucine |  | 2: 0.413; 3: 0.793; 4: 0.304; 5: 0.814; 6: 0.753; 7: 0.807; 8: 4.0056
| L-Leucine |  | 2: 0.778; 3: 1.323; 4: 0.587; 5: 1.319; 6: 1.34; 7: 1.348; 8: 7.004
| L-Tyrosine |  | 2: 0.422; 3: 0.611; 4: 0.292; 5: 0.676; 6: 0.638; 7: 0.621; 8: 4.5014
| L-Phenylalanine |  | 2: 0.558; 3: 0.952; 4: 0.418; 5: 0.935; 6: 1.033; 7: 1.035; 8: 3.9965
| L-Lysine |  | 2: 0.43; 3: 1.284; 4: 0.264; 5: 1.38; 6: 1.227; 7: 1.208; 8: 6.336
| L-Histidine |  | 2: 0.244; 3: 0.447; 4: 0.213; 5: 0.463; 6: 0.574; 7: 0.526; 8: 2.1356
| L-Arginine |  | 2: 0.751; 3: 1.479; 4: 0.478; 5: 1.646; 6: 1.274; 7: 1.086; 8: 2.7888
| Total Protein = |  | 2: 10.109; 3: 16.69; 4: 8.589; 5: 17.473; 6: 17.016; 7: 16.455; 8: 77.4571
NH2 Conc. (mM) =
Multiply by Proline & divide by Lysine, Histidine and Arginine =
| Proline Constant = | 2
| Lysine Constant = | 0.5
| Histidine Constant = | 0.2
| Arginine Constant = | 0.2
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS) - AA Profile Analysis

## Data Fit
Fit of Standards to Literature Values and Digestibility Score of Samples
| Sample ID | AA (as is) Corrected Ninhydrin Result | Regression Fit Result | Literature Value
2 | Control A |  |  | 83
3 | Control B |  |  | 86
4 | Control C |  |  | 91
5 | Control D |  |  | 84
6 | Control E |  |  | 84
7 | Control F |  |  | 81
8 | Casein |  |  | 100
9
10
11 |  |  |  |  | Slope = | Intercept =
12
13
14
15
16
17
18
19
20
21
22
23
24
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS) - Data Fit

## Report Sample 9
In-Vitro PDCAAS Analysis
Date
| Number | 9
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70oC @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 10
In-Vitro PDCAAS Analysis
Date
| Number | 10
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 11
In-Vitro PDCAAS Analysis
Date
| Number | 11
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 12
In-Vitro PDCAAS Analysis
Date
| Number | 12
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Protein Digestibility Assay (K-PDCAAS)
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 13
In-Vitro PDCAAS Analysis
Date
| Number | 13
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Protein Digestibility Assay (K-PDCAAS)
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 14
In-Vitro PDCAAS Analysis
Date
| Number | 14
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 15
In-Vitro PDCAAS Analysis
Date
| Number | 15
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 16
In-Vitro PDCAAS Analysis
Date
| Number | 16
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 17
In-Vitro PDCAAS Analysis
Date
| Number | 17
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 18
In-Vitro PDCAAS Analysis
Date
| Number | 18
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 19
In-Vitro PDCAAS Analysis
Date
| Number | 19
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 20
In-Vitro PDCAAS Analysis
Date
| Number | 20
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 21
In-Vitro PDCAAS Analysis
Date
| Number | 21
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 22
In-Vitro PDCAAS Analysis
Date
| Number | 22
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 23
In-Vitro PDCAAS Analysis
Date
| Number | 23
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)

## Report Sample 24
In-Vitro PDCAAS Analysis
Date
| Number | 24
Sample ID
Description
Amino Acid
[5 empty] | 1991 | Ratio
Reference Protein
|  | (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
| L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
| L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
| L-HydroxyProline | 0
| L-Aspartic acid | 0
| L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
| L-Serine | 0
| L-Glutamic Acid | 0
| L-Proline | 0
| L-Glycine | 0
| L-Alanine | 0
| L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
| L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
| L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
| L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
| L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
| L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
| L-Arginine | 0
| Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
|  | In Vitro Digestibility = |  | #VALUE!
|  |  | First Limiting Amino Acid = | #DIV/0!
|  |  | Amino Acid Score = | #DIV/0!
|  |  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
The MegaCalc and its embodied calculations are, to Neogen®’s knowledge, correct. However, your data and inputs, the method of collection, and conditions of use are outside the control of Neogen; thus, the accuracy of your results may vary. No warranty, express or implied, is provided regarding the use of this tool. © 2023, Neogen Corporation; © 2023, Megazyme. All rights reserved.
Instructions
Contact Us
Protein Digestibility Assay (K-PDCAAS)